| Minor Works CPP |  |  |  |
| --- | --- | --- | --- |
| Site Address |  |  |  |
| Scope of works |  |  |  |
| Start date |  | Completion date |  |
| Start time |  | Completion time |  |
| Client |  | Job Number |  |

| Method of works |  |
| --- | --- |
| Additional notes/ Additional Control Measures |  |
| For Safety Procedures and safe systems please use the QR code below to gain access to the WMS employee safety handbook. |  |
| Subcontractors | Materials |
| Welfare | Nearest A+E |
| Risk Assessment |  |  |

- Relevant box

| Hazard |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Yes |  | No | Control Measures |  |  |
| Falls from height |  |  |  | Safety inspected ladder/steps, with spurs/mats used in line with training. Mobile tower scaffold by PASMA qualified. Scaffold erected by competent scaffolder. MEWP –operative competent (IPAF) Harness, hi vis, hard hat. |  |  |
| Slips, trips and falls |  |  |  | Site kept clean and tidy at all times, no trailing leads, excessive stored items. If spillage occurs, clean immediately. Inspect ground conditions |  |  |
| Manual handling |  |  |  | Correct lifting techniques to be adopted, no lift over 25kg Mechanical assistance |  |  |
| Stability of structure |  |  |  | Contact contracts manager, further control measures required. Works have been planned through, see method statement. |  |  |
| Excavation/hole/trench |  |  |  | Contact contracts manager, further control measures required. Works have been planned through, see method statement. |  |  |
| Electrical |  |  |  | Electrical works to be completed by electricians. Tools to be 110V or Battery only Tools to have been PAT |  |  |
| Hot works |  |  |  | Hot works permit prior to start. |  |  |
| Gas |  |  |  | Only qualified Gas Safe engineer to touch gas. |  |  |
| Lone working |  |  |  | Assess if it is safe to undertake task as a lone worker. |  |  |
| Chemicals |  |  |  | Follow material safety data sheet. |  |  |
| Drugs needles |  |  |  | Contact contracts manager, risk assessment prior to start. |  |  |
| Dangerous pets |  |  |  | Segregate pets, WMS operatives not to approach pets. |  |  |
| Potential aggressiveness |  |  |  | Remove yourself from the immediate area, contact contracts manager. |  |  |
| Hygiene |  |  |  | Wear PPE, ring contracts manager if unacceptable condition. |  |  |
| Vulnerable persons |  |  |  | Segregate persons from work area, barriers/signage. Undertake works out of hours. |  |  |
| Vibration |  |  |  | Wear PPE, regular breaks, undertake maintenance of tools and check HAVS calculator |  |  |
| Noise |  |  |  | Wear PPE, regular breaks, inform persons of loud works. |  |  |
| Respirable dust |  |  |  | Extraction/suppression. Wear face fitted FFP3 mask, where dust may arise. |  |  |
| Asbestos |  |  |  | Read asbestos survey ensure awareness of ACM’s. Contact contracts manager if chance of disturbing an ACM. Specialist contractor removal. |  |  |
| Chimney/Flue/Roofing/Utilities/Ventilation Check GSIUR’s Reg 8 I have undertaken an assessment of the works and it will not disturb any chimney, flue, utilities, roofs, ventilation etc For removal/changes to chimney, flue, utilities, roofs, ventilation etc I have assessed and it will not render any connections unsafe If applicable I have written confirmation that gas/gas appliance isolated/removed and works safe to continue I confirm that I have the knowledge to complete this assessment and works are safe to continue. |  |  |  |  |  |  |
| Complete - I confirm that the work has been completed to my satisfaction. Additional works required = No access |  |  |  |  |  |  |
| Assessment completed by |  |  |  |  | RAMS Read and understood |  |
| Signature |  |  |  |  | Signature |  |
| Date |  |  |  |  | Date |  |

| RAMS Read and understood |  |
| --- | --- |
| Signature |  |
| Date |  |

| RAMS Read and understood |  |
| --- | --- |
| Signature |  |
| Date |  |

| RAMS Read and understood |  |
| --- | --- |
| Signature |  |
| Date |  |

| RAMS Read and understood |  |
| --- | --- |
| Signature |  |
| Date |  |

| RAMS Read and understood |  |
| --- | --- |
| Signature |  |
| Date |  |

| RAMS Read and understood |  |
| --- | --- |
| Signature |  |
| Date |  |

| RAMS Read and understood |  |
| --- | --- |
| Signature |  |
| Date |  |

| RAMS Read and understood |  |
| --- | --- |
| Signature |  |
| Date |  |